| Safe System of Work |  |
| --- | --- |

| Company name | Elite Services Holdings Ltd | Department | Service |
| --- | --- | --- | --- |

| Contract | Customers Site | Prepared by | Gareth Lewis |
| --- | --- | --- | --- |

| Date prepared | 01/05/2024 | Review date | 01/05/2025 |
| --- | --- | --- | --- |

1. DESCRIPTION OF WORK

Servicing of ‘Air Sterile’ Ozone generators on customer’s premises.

2. PERSONNEL COMPETENCE REQUIREMENTS

All Personnel to be fully trained in Manual Handling techniques, Working at Heights and Safe Working Systems.

3. SUPERVISORS’ DUTIES AND RESPONSIBILITIES

To assess the work to be carried out and ensure that all personnel required have been fully trained and carry the correct PPE.

4. MEANS OF ACCESS

Access is required to all areas equipment is located.

5. MACHINERY, PLANT AND EQUIPMENT

Step Ladders

6. LIFTING OPERATIONS AND EQUIPMENT

7. MATERIALS STORAGE, SECURITY AND HANDLING

All Materials are to be kept on the vehicle until needed.

8. SEQUENCE OF OPERATIONS

- Ensure the area is closed off and ‘2 meter’ social distancing rule is possible - Isolate power to the Air Sterile unit by switching off its plug/fused spur (this can also be done by removing the spurs fuse) - Ascend step ladders using the Safe Working System for Working at Heights on a Step Ladder - Remove the dust filters from unit and service as per the manufactures instructions - Refit the dust filters and wipe down the exterior with a clean cloth - Test the units operation by switching power back on at its plug/fused spur - Remove gloves, wash/sanitize hands

9. PERSONAL PROTECTIVE EQUIPMENT

Safety Shoes, Safety Glasses, Safety Hat & High Visibility Vest if needed, KN95 protective mask

10. PROTECTION OF THIRD PARTIES

Close of area and erect warnings signs

11. ENVIRONMENTAL ISSUES

All waste is to be removed from site and disposed of in accordance with the Environmental Protection Act 1990 and Elite Services Holdings company policy.

12. FIRST AID AND EMERGENCIES

All incidents and accidents are to be reported to the customer in the first instance and then to Elite Healthcare. All ‘Elite Services Holdings’ service personnel carry 1st aid kits on there vehicles. All engineers must carry mobile phones whilst working alone.

13. OTHER INSTRUCTIONS

Follow the safe system of work for the use of Step Ladders