# Preliminary Site Risk Assessment Record Form

| Subject of Assessment Installation and Service of Washroom Service Equipment | Location Customers Site |
| --- | --- |
| Hazards |  |
| Working at Height Uneven floors Poor Lighting Hazardous Substances Biological agents Aerosols | Moving Machinery Electricity Fire Lone working Restricted headroom |
| Categories and Number of Personnel Exposed to the Hazards Elite Healthcare Engineer: 1 Customers Staff: number unknown The Public: number unknown | Details of work to be carried out at this site Installation, Removal or Service of Washroom equipment |
| Details of Control Measures that are required - All personnel authorised to visit sites un-supervised have undergone appropriate Safety training. - All personnel have been issued with a copy of the Company’s health and safety rules. - Before working at a site where the customer has arrangements in place all Engineers are required to attend the customer’s site safety induction training. - Before leaving the Depot premises each Engineer checks their vehicle to ensure that all required safety equipment is available and in good condition. - Engineers are required to report to the Customers representative and complete the customers checking in procedure before going to the work area, and sign out on completion of the work activity. - Engineers are trained and familiar with the working conditions at the type of premises that they visit. - Engineers are provided with and required to use when necessary appropriate personal protective equipment. - Personal Protective equipment includes safety footwear, high visibility clothing, head protection, eye, ear hand protection and respiratory protective equipment. - Engineers are instructed that if conditions at the site or the access to the service equipment on which they are to work are not acceptable they should not start work until remedial action has been taken. |  |

| Details of Control Measures that are required Continued - When installing/un-installing service equipment involves working near fire alarm, detection systems, or fire suppression systems, this work will not commence until the customer has taken steps to prevent those systems being accidentally activated. - Engineers are instructed not to disturb any material that they suspect or have been informed may contain asbestos. - Engineers are required to have with them a mobile phone for use in an emergency. - Lone Engineers are not permitted to carry out work that requires more than one person to be present to ensure that it can be performed safely. - Work near dangerous parts of moving machinery will not take place unless the machinery has been isolated and locked off. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Details of Additional Risk Assessments required (Select Those that are applicable) |  |  |  |  |
|  | Y/N |  |  | Y/N |
| Control of Substances Hazardous to Health Manual Handling Working at Height portable ladders | Y Y Y | Working on Electrical systems (Trained engineers only) Other (Give details) |  | Y |
| Description of Residual Risk (when control measures implemented) There is an insignificant Residual Risk so long as all control measures are observed |  |  | Size of Residual Risk (when control measures implemented) Low Risk Gareth Lewis 01/05/24 Service Director |  |

| High Risk | Fatal or major injuries or irreversible health effects to one or more people are highly probable. |
| --- | --- |
| Medium Risk | Serious injury or health effects are possible. |
| Low Risk | Minor injury or reversible minor health effects may occur. |
| Insignificant | The activity presents no greater risk than those associated with life in general. |